句型：

- The sample to test the reproducibility of individual longitudinal assessments included测试回顾性

- To standardize voxel size, all scans were resliced to a voxel size of 0.5 mm to decrease the computational power and time required to compute the automated registration：归一化

- The flow chart in Figure 2 describes an overview of the image analysis procedures for the regional 3D superimposition of mandibular condyles：流程图

- Segmentation of the right and left mandibular condyles consisted of outlining the cortical boundaries of the condylar region using semi-automatic and manual discrimination procedures that allowed manual editing, checking slice by slice：描述分割过程

- performing all registration procedures described below过渡语句

- Owing to great individual morphological variability across subjects, voxel-based approaches fail个体差异

- 25 landmarks were placed on each condylar surface model

- These 4002 surface points and the location of their respective XYZ coordinates were optimized for each corresponding condyle mesh

- the colour maps of the quantitative subtractions both as signed colour-coded maps：描述颜色及差分

- generating CBCT images that contain only the right or left condyle

- All follow-up, scans were registered to the pre-surgery CBCT scan as a reference.参考图像

- the transformation matrix used to change the position of these images with six degrees of freedom (DOF) when registered to the pre-surgery image变换矩阵

单词：

skeletal discrepancies：骨骼差异

mandibular：下颌

condyle：髁突

outlining the cortical boundaries of the condylar region：髁突表面皮肤

sagittal, coronal and axia 三个切面

3D surface mesh reconstruction model：三维表面网格重建模型

Cranial：头盖骨

Maxillofacial上颌面

Orthodontist正畸

Morphology形态学

same co-ordinate system相同坐标系

anatomical解剖学

correspondence对应

association：关联

bone proliferation骨增生

bone resorption骨吸收

covariance协方差

Objectives:

In order to facilitate the doctor to observe patients’ condition from two aspects which are bone changes in condylar and position changes of the condyle, this study proposed a method of registering CBCT images of the temporomandibular joint (TMJ)  from the condyle and the skull.

Methods:

CBCT images of 6 patients were obtained, three of them contained both sides of the joint, the others contained one sides. 3D models were constructed from the CBCT images utilizing semi-automatic segmentation and manual editing.  A four-points-landmarked registration method which acted on the condyle part was employed as an initiation for an optimization algorithm based on gradient descent. The algorithm applied for registration of both condylar and skull. A result display method allowed the visual and quantitative assessment of bone changes via 2D overlays of superimposed models and 3D colored displacement maps.

Results:

Bone lesion which is the result of condylar registration can be clearly illustrated by the 2D overlays of superimposed models and bone displacement which is the result of skull registration can be well observed by the virtual 3D surface model.

Conclusions:

The method proposed in this paper is valid and reproducible and it can be used to analysis subtle bony differences in the three-dimensional condylar morphology. But the calculation time has a great associated with the image spatial resolution and the amount of data.

Keywords:

Introduction

Because of the deep location of TMJ, the clinical examination can’t reveal its internal condition in detail. Therefore, imaging examination has become an important assistant method in the diagnosis and treatment of TMJ disease. In the past few years, CBCT has brought strong driving force for the modernization of TMJ imaging diagnosis because of its high accuracy, information richness, low radioactivity and low price. CBCT provides abundant information for the study of the temporomandibular joint structure and the appearance of CBCT has made a landmark progress in oral and maxillofacial radiology.

Fusing 3D CBCT images which were token before surgery, after surgery and post-rehabilitation, have been recently introduced to assess TMJ pathology. The fused 3D CBCT images can not only qualitatively analyze the changes of temporomandibular joint structures and morphology, but also analyze the bone structures of the temporomandibular joint, such as the joint space, the condyle, the glenoid fossa and joint nodules. The key step in image fusion was to align the corresponding regions of the two images, which was called image registration.

The existing registration methods can be divided into two major categories: marker-based registration and marker-free registration. The main difference between the two methods is whether there are external markers at imaging time or not. The marker-based registration method is not precise enough, because there was a slight difference in the position of the marks at different times. While the marker-free registration method depending on the pixel information of the image itself such as statistical information of image gray level or Internal anatomical structure is more reliable.

In this paper

The computed registration was then applied to the segmented structures in order to measure mandibular rami alterations：配准结果的传递

Note that showing adequate match of the before and after models for the cranial

base Structures：配准前后的完全重合

a blue colour code indicates an inward displacement of that surface after surgery

The reproducibility of the method was confirmed by the colour-coded maps

reveal that

suggests
that the method is valid